## Slide 1: Effects of white noise on fidelity
Noise Power Measurement for Different DAC amplitudes
fqubit
f
Power (dBm)
Noise BW
Noise
Signal
+15 dB
-14.8 dBm
Qubit
300 K
4 K
-20 dB
100 mK
-20 dB
RFSoC
DAC0
DAC1
10 mK
-20 dB

## Slide 2: Effects of white noise on fidelity
Noise
Signal
+15 dB
-14.8 dBm
Qubit
300 K
4 K
-20 dB
100 mK
-20 dB
RFSoC
DAC0
DAC1
10 mK
-20 dB

## Slide 3: Effects of white noise on fidelity
Noise
Signal
+15 dB
-14.8 dBm
Qubit
300 K
4 K
-20 dB
100 mK
-20 dB
RFSoC
DAC0
DAC1
10 mK
-20 dB

## Slide 4: Effects of white noise on fidelity
Without any additional noise:
  Fidelity = 99.87%
  300 K Thermal Noise = -77 dBm @ 4.5 GHz
To achieve 99.9% fidelity, we need:
  SNR: ≈ 1.3 x 107
  or Average noise floor: - 71 dBm
To achieve 99.99% fidelity, we need:
  SNR: ≈ 3 x 107
  or Average noise floor: - 74 dBm

## Slide 5: Effects of white noise on fidelity
Need to bring down the average
noise floor to around: - 75 dBm
Without any additional noise:
  Fidelity = 99.87%
  300 K Thermal Noise = -77 dBm @ 4.5 GHz
To achieve 99.9% fidelity, we need:
  SNR: ≈ 1.3 x 107
  or Average noise floor: - 71 dBm
To achieve 99.99% fidelity, we need:
  SNR: ≈ 3 x 107
  or Average noise floor: - 74 dBm
Next todo: Investigate only the phase noise with constant amplitude towards fidelity.